| Project | ZigBee Alliance |
| --- | --- |
| Title | ZigBee Health Care Profile: Protocol Implementation Conformance (PICS) Proforma |
| Date Submitted | [December 2011] |
| Source | [Malcolm Clarke] [Brunel University] [Kingston Lane, Uxbridge UB8 3PH UK] | Voice: [+44 1895 265053] Fax: [+44 1895 251686] E-mail: [malcolm.clarke@brunel.ac.uk] |
| Re: | ZigBee PICS for the ZigBee Health Care (ZHC) Application Profile |
| Abstract | As a part of formal conformance testing, manufacturers will be asked to submit a statement of protocol conformance with respect to the appropriate ZigBee devices required by the application profile under test. This document is intended to provide the form of that statement of conformance for the ZigBee Health Care profile. |
| Purpose | This document, after review by the relevant working groups, should provide a form whereby developers can proffer a statement of protocol conformance to be tested under profile testing. |
| Notice | This document has been prepared to assist the ZigBee Alliance. It is offered as a basis for discussion and is not binding on the contributing individual(s) or organization(s). The material in this document is subject to change in form and content after further study. The contributor(s) reserve(s) the right to add, amend or withdraw material contained herein. |
| Release | The contributor acknowledges and accepts that this contribution will be posted in the member’s area of the ZigBee Alliance web site. |

| Legal Notice | Copyright © ZigBee Alliance, Inc. (2009). All rights Reserved. This information within this document is the property of the ZigBee Alliance and its use and disclosure are restricted. Elements of ZigBee Alliance specifications may be subject to third party intellectual property rights, including without limitation, patent, copyright or trademark rights (such a third party may or may not be a member of ZigBee). ZigBee is not responsible and shall not be held responsible in any manner for identifying or failing to identify any or all such third party intellectual property rights. This document and the information contained herein are provided on an “AS IS” basis and ZigBee DISCLAIMS ALL WARRANTIES EXPRESS OR IMPLIED, INCLUDING BUT NOT LIMITED TO (A) ANY WARRANTY THAT THE USE OF THE INFORMATION HEREIN WILL NOT INFRINGE ANY RIGHTS OF THIRD PARTIES (INCLUDING WITHOUT LIMITATION ANY INTELLECTUAL PROPERTY RIGHTS INCLUDING PATENT, COPYRIGHT OR TRADEMARK RIGHTS) OR (B) ANY IMPLIED WARRANTIES OF MERCHANTABILITY, FITNESS FOR A PARTICULAR PURPOSE, TITLE OR NON-INFRINGEMENT. IN NO EVENT WILL ZIGBEE BE LIABLE FOR ANY LOSS OF PROFITS, LOSS OF BUSINESS, LOSS OF USE OF DATA, INTERRUPTION OF BUSINESS, OR FOR ANY OTHER DIRECT, INDIRECT, SPECIAL OR EXEMPLARY, INCIDENTIAL, PUNITIVE OR CONSEQUENTIAL DAMAGES OF ANY KIND, IN CONTRACT OR IN TORT, IN CONNECTION WITH THIS DOCUMENT OR THE INFORMATION CONTAINED HEREIN, EVEN IF ADVISED OF THE POSSIBILITY OF SUCH LOSS OR DAMAGE. All Company, brand and product names may be trademarks that are the sole property of their respective owners. The above notice and this paragraph must be included on all copies of this document that are made. ZigBee Alliance, Inc. 2694 Bishop Drive, Suite 275 San Ramon, CA 94583 |
| --- | --- |

# References

The following standards contain provisions, which, through reference in this document, constitute provisions of this standard. All the standards listed are normative references. At the time of publication, the editions indicated were valid. All standards are subject to revision, and parties to agreements based on this standard are encouraged to investigate the possibility of applying the most recent editions of the standards indicated below.

## ZigBee Alliance documents

ZigBee document 053474r17: ZigBee Specification 2007

ZigBee document 08006r03: ZigBee 2007 Layer PICS and Stack Profiles

ZigBee document 075360: ZigBee Health Care Application Profile Specification

ZigBee document 095304: Health Care Profile Specification – Part 2, Security Clusters

ZigBee document 075123r00, ZigBee Cluster Library Specification

ZigBee document 04300r08:  ZigBee Network Layer PICS

ZigBee document 064147r07:  ZigBee Application Layer PICS

ZigBee document 043171r04:  ZigBee Security Layer PICS

ZigBee document 064113r07: ZigBee Cluster Library PICS

ZigBee document 075448r13: Commercial Building Automation Profile PICS

ZigBee document 084974r04 : Telecom Application Profile PICS

## IEEE documents

IEEE Standard for Part 15.4: Wireless Medium Access Control (MAC) and Physical Layer (PHY) specifications for Low Rate Wireless Personal Area Networks (LR-WPANs), 2003.

Table of Contents

References	3

1.1	ZigBee Alliance documents	3

1.2	IEEE documents	3

Change history	5

2	Introduction	6

2.1	Scope	6

2.2	Purpose	6

3	Abbreviations and special symbols	7

4	Instructions for completing the PICS proforma	8

5	Identification of the implementation	9

6	Identification of the protocol	11

7	Global statement of conformance	11

8	PICS proforma tables	12

8.1	ZigBee Device Types	12

8.2	Stack Profile	12

8.3	Stack Profile Additional Restrictions for ZHC	13

8.4	Health Care Device Description support	13

8.5	Health Care Device Description Capabilities	15

8.6	Health Care Commissioning	17

8.7	ZHC-defined Cluster Capabilities	19

8.7.1	11073 Tunnel Cluster	19

8.7.2	ASKE Cluster	20

8.7.3	ASAC Cluster	24

8.8	Other Clusters [Candidate material for ZCL PICS]	29

8.8.1	Commissioning Cluster	29

# Change history

The following table shows the change history for this specification.

Table 1 – Revision change history

| Revision | Version | Description |
| --- | --- | --- |
| 07 | 1.0 | Accepted by the ZigBee Alliance Board of Directors |

# Introduction

To evaluate conformance of a particular implementation, it is necessary to have a statement of which capabilities and options have been implemented for a given standard. Such a statement is called a protocol implementation conformance statement (PICS).

## Scope

This document provides the protocol implementation conformance statement (PICS) proforma for the ZigBee specifications cited in Reference [R3] in compliance with the relevant requirements, and in accordance with the relevant guidance, given in 
ISO/IEC 9646-7.

This document addresses the ZigBee Health Care (ZHC) Application Profile.

## Purpose

The supplier of a protocol implementation claiming to conform to the ZigBee Health Care Application Profile shall complete the following PICS proforma and accompany it with the information necessary to identify fully both the supplier and the implementation.

The PICS is in the form of answers to a set of questions in the PICS proforma. The questions in a proforma consist of a systematic list of protocol capabilities and options as well as their implementation requirements. The implementation requirement indicates whether implementation of a capability is mandatory, optional, or conditional depending on options selected. When a protocol implementer answers questions in a PICS proforma, they would indicate whether an item is implemented or not, and provide explanations if an item is not implemented.

# Abbreviations and special symbols

Notations for requirement status:

| M | Mandatory |
| --- | --- |
| O | Optional |
| O.n | Optional, but support of at least one of the group of options labeled O.n is required. (Clarification - the number ‘n’ is a label for the group, not a count of the number of options within the group, or the ordinal number of the option within the group. All options in the group are indicated identically as O.n) |
| N/A | Not applicable |
| X | Prohibited |
| Item label: Status | Status is conditional on support of the item with the given item label. |

Examples

1/  If items labeled A and B are both marked “O.n” this indicates that the status is optional for both A and B, but at least one of the two features described by items A and B is required to be implemented.

2/ If m items are each marked A: O.n, this indicates that, if item A is implemented, the status is optional for all of them, but at least one of the m features described by the items is required to be implemented.

# Instructions for completing the PICS proforma

If a given implementation is claimed to conform to this standard, the actual PICS proforma to be filled in by a supplier shall be technically equivalent to the text of the PICS proforma in this annex, and shall preserve the numbering and naming and the ordering of the PICS proforma.

A PICS which conforms to this document shall be a conforming PICS proforma completed in accordance with the instructions for completion given in this annex.

The main part of the PICS is a fixed-format questionnaire, divided into five tables. Answers to the questionnaire are to be provided in the rightmost column, either by simply marking an answer to indicate a restricted choice (such as Yes or No), or by entering a value, set, or range of values.

# Identification of the implementation

Implementation under test (IUT) identification

IUT name: _____________________________________________________________________

IUT version:

_____________________________________________________________________

System under test (SUT) identification

SUT name: 			Optex-35R Passive Infra Red (PIR)

____________________________________________________________________________

Software Version:		1.3.001

____________________________________________________________________________

Hardware Version: 		HZM

____________________________________________________________________________

Operating system (optional):	n/a

____________________________________________________________________________

Product supplier

Name: 				Brunel University

____________________________________________________________________________

Address:			Kingston Lane,

Uxbridge,

UB8 3PH,

UK

____________________________________________________________________________

Telephone number: 		+44 1895 265053

____________________________________________________________________________

Facsimile number: 		+44 1895 251686

____________________________________________________________________________

Email address: 		malcolm.clarke@brunel.ac.uk

____________________________________________________________________________

Additional information:

____________________________________________________________________________

Client

Name:

____________________________________________________________________________

Address:

____________________________________________________________________________

Telephone number: ____________________________________________________________________________

Facsimile number: ____________________________________________________________________________

Email address:

____________________________________________________________________________

Additional information:

____________________________________________________________________________

PICS contact person

Name: 				Malcolm Clarke

____________________________________________________________________________

Address: 			Kingston Lane

____________________________________________________________________________

Telephone number: 		+44 1895 265053

____________________________________________________________________________

Facsimile number:		+44 1895 251686

____________________________________________________________________________

Email address: 		malcolm.clarke@brunel.ac.uk

____________________________________________________________________________

Additional information: ____________________________________________________________________________

PICS/System conformance statement

# Identification of the protocol

This PICS proforma applies to the ZigBee Health Care Application Profile, cited in Reference [R3].

# Global statement of conformance

The implementation described in this PICS proforma meets all of the mandatory requirements of the referenced standards:

Application Profile:  ZigBee Health Care – 075360r15ZB

Note -- Answering ‘No’ indicates non-conformance to the specified protocol standard. Non-supported mandatory capabilities are to be identified in the following tables, with an explanation by the implementer explaining why the implementation is non-conforming.

The supplier will have fully complied with the requirements for a statement of conformance by completing the statement contained in this subclause. That means, by clicking the above, the statement of conformance is complete.

# PICS proforma tables

The following tables are composed of the detailed questions to be answered, which make up the PICS proforma.

## ZigBee Device Types

Table 2 - Functional device types

| Item number | Item description | Reference | Status | Support |
| --- | --- | --- | --- | --- |
| FDT1 | Is this device capable of acting as a ZigBee coordinator? | [R1] 2.5.5.5.1 | O.1 | N |
| FDT2 | Is this device capable of acting as a ZigBee router? | [R1] 2.5.5.5.1 | O.1 | N |
| FDT3 | Is this a ZigBee end device? | [R1] 2.5.5.5.1 | O.1 | Y |
| FDT4 | Is the device capable of acting as a Trust Center? |  | O | N |

## Stack Profile

Table 3 –Stack Profile

| Item number | Item description | Reference | Status | Support |
| --- | --- | --- | --- | --- |
| ZSP1 | Is the device built on a ZigBee Compliant Platform certified for the ZigBee stack profile [R2]? | [R6], [R3] 5.1 | FDT1: X FDT3: O.2 | N |
| ZSP2 | Is the device built on a ZigBee PRO Compliant Platform certified for the ZigBee PRO stack profile [R2]? | [R6], [R3] 5.1 | FDT1: M FDT2: M FDT3: O.2 | Y |

## Stack Profile Additional Restrictions for ZHC

Table 4 – Stack Profile Additional Restrictions for ZHC

| Item number | Item description | Reference | Status | Support |
| --- | --- | --- | --- | --- |
| SPAR1 | Does the device support fragmentation? | [R3] 5.1.1 | See note 1 | Y |
| SPAR2 | Does the device set the fragmentation parameter apscMaxWindowSize to1? | [R3] 5.1.1 | SPAR1: M | Y |
| SPAR3 | Does the device support Standard Security, with preconfigured TC link keys? | [R3] 5.1.1 | M | Y |
| SPAR4 | Does the device operate in the 2.4 GHz band? | [R3] 5.1.1 | M | Y |
| SPAR5 | Does the device support many to one route discovery? | [R3] 5.1.1 | ZSP2: M | n/a |
| SPAR6 | Is the device designated as a concentrator? | [R3] 5.1.1 | FDT4: M DD4: M | N |
| SPAR7 | Does the device support 16 child end devices? | [R3] 5.1.1 | DD4: M | n/a |
| SPAR8 | Does the device operate as an RX_ON_WHEN_IDLE device if implementing a Data Management device? | [R3] 7.6.1 | FDT3: M | n/a |

Note 1 - If the maximum size ASDU required by any cluster supported will not fit in a single ZigBee packet, then APS Fragmentation shall be implemented, supporting up to at least the maximum size required by any cluster supported, or 240 bytes, whichever is the smaller. (See [R3] 7.1.4)

## Health Care Device Description support

Table 5 – ZHC device description support

| Item number | Item description | Reference | Status | Support |
| --- | --- | --- | --- | --- |
| HCDD1 | Is the product programmed as a Disease Management Device? | [R3] 7.2 | O.3 | N |
| HCDD2 | Is the product programmed as a Health and Fitness Device? | [R3] 7.3 | O.3 | N |
| HCDD3 | Is the product programmed as an Aging Independently Device? | [R3] 7.4 | O.3 | Y |
| HCDD4 | Is the product programmed as a Multifunction Device? | [R3] 7.5 | O.3 | N |
| HCDD5 | Is the product programmed as a Data Management Device? | [R3] 7.6 | O.3 | N |
| HCDD6 | Is the product programmed as a Weight Scale? | [R3] 7.2 | HCDD1: O4 | N |
| HCDD7 | Is the product programmed as a Thermometer? | [R3] 7.2 | HCDD1: O4 | N |
| HCDD8 | Is the product programmed as a Pulse Oximeter? | [R3] 7.2 | HCDD1: O4 | N |
| HCDD9 | Is the product programmed as a Blood Pressure Monitor? | [R3] 7.2 | HCDD1: O4 | Y |
| HCDD10 | Is the product programmed as a Glucose Meter? | [R3] 7.2 | HCDD1: O4 | N |
| HCDD11 | Is the product programmed as an Insulin Pump? | [R3] 7.2 | HCDD1: O4 | N |
| HCDD12 | Is the product programmed as a Peak Flow Monitor? | [R3] 7.2 | HCDD1: O4 | N |
| HCDD100 | Is the product programmed as an ECG? | [R3] 7.2 | HCDD1: O4 | N |
| HCDD101 | Is the product programmed as an International Normalized Ratio (INR)? | [R3] 7.2 | HCDD1: O4 | N |
| HCDD13 | Is the product programmed as a Cardiovascular Fitness and Activity Monitor? | [R3] 7.3 | HCDD2: O5 | N |
| HCDD14 | Is the product programmed as a Strength Fitness Equipment? | [R3] 7.3 | HCDD2: O5 | N |
| HCDD200 | Is the product programmed as a Physical Activity Monitor? | [R3] 7.3 | HCDD2: O5 | N |
| HCDD300 | Is the product programmed as a Step Counter? | [R3] 7.4 | HCDD2: O5 | N |
| HCDD15 | Is the product programmed as an Independent Living Activity Hub? | [R3] 7.4 | HCDD3: O6 | Y |
| HCDD16 | Is the product programmed as a Fall Sensor? | [R3] 7.4 | HCDD3: O6 | N |
| HCDD17 | Is the product programmed as a PERS Sensor? | [R3] 7.4 | HCDD3: O6 | N |
| HCDD18 | Is the product programmed as a Motion Sensor? | [R3] 7.4 | HCDD3: O6 | Y |
| HCDD19 | Is the product programmed as a Property Exit Sensor? | [R3] 7.4 | HCDD3: O6 | N |
| HCDD20 | Is the product programmed as an Enuresis Sensor? | [R3] 7.4 | HCDD3: O6 | N |
| HCDD21 | Is the product programmed as a Contact Closure Sensor? | [R3] 7.4 | HCDD3: O6 | N |
| HCDD22 | Is the product programmed as a Switch Use Sensor? | [R3] 7.4 | HCDD3: O6 | N |
| HCDD23 | Is the product programmed as a Dosage Sensor? | [R3] 7.4 | HCDD3: O6 | N |
| HCDD24 | Is the product programmed as a Water Sensor? | [R3] 7.4 | HCDD3: O6 | N |
| HCDD25 | Is the product programmed as a Temperature Sensor? | [R3] 7.4 | HCDD3: O6 | N |
| HCDD26 | Is the product programmed as a Gas Sensor? | [R3] 7.4 | HCDD3: O6 | N |
| HCDD27 | Is the product programmed as a Smoke Sensor? | [R3] 7.4 | HCDD3: O6 | N |
| HCDD28 | Is the product programmed as a CO Sensor? | [R3] 7.4 | HCDD3: O6 | N |
| HCDD29 | Is the product programmed as a Usage Sensor? | [R3] 7.4 | HCDD3: O6 | N |
| HCDD30 | Is the product programmed as an Adherence Monitor? | [R3] 7.4 | HCDD3: O6 | N |
| HCDD31 | Is the product programmed as a Generic Multifunction Healthcare Device? | [R3] 7.5 | HCDD4: M | N |
| HCDD32 | Is the product programmed as a Data Collection Unit (DCU)? | [R3] 7.6 | HCDD5: M | N |

## Health Care Device Description Capabilities

The cluster PICS requirements / constraints are listed in Table 6 and Table 7.

Table 6 – Common cluster PICS requirements / constraints – Server side

| Cluster PICS Item number | Reference | Status | Additional Constraints | Support |
| --- | --- | --- | --- | --- |
| BCS1 | [R9], [R3] 7.1.3 | M |  | Y |
| ICS1 | [R9], [R3] 7.1.3 | M |  | Y |
| COMCS1 | 8.8.1, [R3] 7.1.3 | O |  | N |
| GTCS1 | [R10], [R3] 7.1.3 | M |  | Y |
| 11073TCS1 | [R3] 7.1.3 | M |  | Y |
| PCS1 | [R9], [R3] 7.1.3 | O |  | N |
| ACS1 | [R9], [R3] 7.1.3 | O |  | N |
| TCS1 | [R9], [R3] 7.1.3 | O |  | N |
| LCS1 | [R9], [R3] 7.1.3 | O |  | N |
| ASKECS1 | [R3] 7.1.3 | O |  | N |
| ASACCS1 | [R3] 7.1.3 | O |  | N |
| TPCS1 | [R11], [R3] 7.1.3 | O HCDD5:M | If the maximum size ASDU required by any cluster supported is larger than 240 bytes then the Partition cluster shall be implemented, supporting up to at least the maximum size required by any cluster supported. | N |
| TVZCS1 | [R11], [R3] 7.4.1.1 | HCDD3:O |  | N |
| ZHCOCS1 | [R3] 7.1.3.4 | O | Declare any other clusters supported which are not formally part of the ZHC profile, and reference test specification. | n/a |

Table 7 – Common cluster PICS requirements/ constraints – Client side

| Cluster PICS Item number | Reference | Status | Additional Constraints | Support |
| --- | --- | --- | --- | --- |
| BCC1 | [R9], [R3] 7.5.1 | O |  | N |
| ICC1 | [R9], [R3] 7.5.1 | O |  | N |
| GTCC1 | [R10], [R3] 7.1.3 | O |  | N |
| 11073TCC1 | [R3] 7.1.3 | M |  | N |
| LCC1 | [R9], [R3] 7.1.3 | O |  | N |
| ASKECC1 | [R3] 7.1.3 | O |  | N |
| ASACCC1 | [R3] 7.1.3 | O |  | N |
| TPCC1 | [R11], [R3] 7.1.3 | O |  | N |
| TVZCC1 | [R11], [R3] 7.5.1.1 | HCDD5:O |  | N |
| ZHCOCS1 | [R3] 7.1.3.4 | O | Declare any other clusters supported which are not formally part of the ZHC profile, and reference test specification. | n/a |

## Health Care Commissioning

Table 8 – HC Commissioning Scenario Support

| Item number | Item description | Reference | Status | Support |
| --- | --- | --- | --- | --- |
| HCCS1 | Does the device support the Service Provider Commissioning scenario? | [R3] 8.1, 8.2 | O | Y |
| HCCS2 | Does the device support the In-House Commissioning scenario? | [R3] 8.1, 8.3 | O | Y |
| HCCS3 | Does the device support the Consumer Commissioning scenario? | [R3] 8.1, 8.4 | M | N |
| HCCS4 | Does the device support long term application pairing by means of the connect request and disconnect request commands of the 11073 Protocol Tunnel cluster with the idle timeout field set to 0xffff? | [R3] 8.2.4, [R3] A.1.2.3 | M | Y |
| HCCS5 | Does the device support short term application pairing by means of the connect request and disconnect request commands of the 11073 Protocol Tunnel cluster with the idle timeout field set to other than 0xffff? | [R3] 8.2.4, [R3] A.1.2.3 | M | Y |

Table 9 – User Indications

| Item number | Item description | Reference | Status | Support |
| --- | --- | --- | --- | --- |
| HCDI1 | Is the device able to indicate to the user that it is the coordinator of a network? | [R3] 8.5 | O HCDD5:M | n/a |
| HCDI 2 | Is the device able to indicate to the user that it has successfully joined a network? | [R3] 8.5 | O HCDD5:M | Y |
| HCDI 3 | Is the device able to indicate to the user that it has failed to join a network? | [R3] 8.5 | O HCDD5:M | Y |
| HCDI 4 | Is the device able to indicate to the user that a new connection with another device has been created? | [R3] 8.5 | O HCDD5:M | Y |
| HCDI 5 | Is the device able to indicate to the user that it has failed to be connected to another device? | [R3] 8.5 | O HCDD5:M | Y |
| HCDI 6 | Is the device able to indicate to the user that it is in the process of searching for or joining a network? | [R3] 8.5 | O HCDD5:M | Y |
| HCDI 7 | Is the device able to indicate to the user that it is identifying itself? | [R3] 8.5 | O HCDD5:M | Y |

Table 10 – Connect / Disconnect Indications

| Item number | Item description | Reference | Status | Support |
| --- | --- | --- | --- | --- |
| HCCDI1 | Does the device generate an 11073 ‘connect indication’ when a device connects to it? | [R3] 8.2.4.1 | M | Y |
| HCCDI 2 | Does the device generate an 11073 ‘disconnect indication’ when a device disconnects from it? | [R3] 8.2.4.1 | M | Y |
| HCCDI 6 | Does the device generate an 11073 ‘disconnect indication’ when it cannot make contact with the network? | [R3] 8.2.4.1 | O | Y |
| HCCDI 7 | Does the device generate an 11073 ‘connect indication’ when it has re-established contact with the network? | [R3] 8.2.4.1 | O | Y |

Note – these items may become mandatory.

## ZHC-defined Cluster Capabilities

### 11073 Tunnel Cluster

Table 11 – 11073 Tunnel cluster server capabilities

| Item number | Item description | Reference | Status | Support |
| --- | --- | --- | --- | --- |
| 11073TCS1 | Is the 11073 Protocol Tunnel cluster supported as a server? | [R3] A.1.2 | O | Y |
| 11073TCS3 | Is the DeviceIDList attribute supported? | [R3] A.1.2.2.2 | 11073TCS1:O HCDD4: M | Y |
| 11073TCS4 | Is reception of the Transfer APDU command supported? | [R3] A.1.2.3 | 11073TCS1:M | Y |
| 11073TCS7 | Does the device comply with the ISO/IEEE 11073-20601 standard and the applicable device specialization documents? | [R3] A.1.1 | 11073TCS1:M | Y |
| 11073TCS8 | Is the Manager Target attribute supported? | [R3] A.1.2.2 | 11073TCS1:O HCDD1:M HCDD2:M HCDD3:M HCDD4:M | Y |
| 11073TCS9 | Is the Manager Endpoint attribute supported? | [R3] A.1.2.2 | 11073TCS1:O HCDD1:M HCDD2:M HCDD3:M HCDD4:M | Y |
| 11073TCS10 | Is the Connected attribute supported? | [R3] A.1.2.2 | 11073TCS1:O HCDD1:M HCDD2:M HCDD3:M HCDD4:M | Y |
| 11073TCS11 | Is the Preemptible attribute supported? | [R3] A.1.2.2 | 11073TCS1:O HCDD1:M HCDD2:M HCDD3:M HCDD4:M | Y |
| 11073TCS12 | Is the Idle Timeout attribute supported? | [R3] A.1.2.2 | 11073TCS1:O HCDD1:M HCDD2:M HCDD3:M HCDD4:M | Y |
| 11073TCS13 | Is reception of the Connect Request command supported? | [R3] A.1.2.3 | 11073TCS1:O HCDD1:M HCDD2:M HCDD3:M HCDD4:M | Y |
| 11073TCS14 | Is reception of the Disconnect Request command supported? | [R3] A.1.2.3 | 11073TCS1:O HCDD1:M HCDD2:M HCDD3:M HCDD4:M | Y |
| 11073TCS15 | Is reception of the Connect Status Notification command supported? | [R3] A.1.2.3 | 11073TCS1:O HCDD5:M | N |

Table 12 – 11073 Tunnel Cluster client capabilities

| Item number | Item description | Reference | Status | Support |
| --- | --- | --- | --- | --- |
| 11073TCC1 | Is the 11073 Protocol Tunnel cluster supported as a client? | [R3] A.1.3 | O | N |
| 11073TCC2 | Is generation of the Transfer APDU command supported? | [R3] A.1.3.4 | O | Y |
| 11073TCC5 | Is the Transfer APDU command always transmitted with the disable default response bit in the ZCL frame control field set to 1? | [R3] A.1.2.3.1.1 | 11073TCC2:M | Y |

### ASKE Cluster

Table 13 – ASKE cluster server capabilities

| Item number | Item description | Reference | Status | Support |
| --- | --- | --- | --- | --- |
| ASKECS1 | Is the ASKE cluster supported as a server? | [R4] A.1 | O | N |
| ASKECS2 | Is in-band configuration of the ASKE Security Domain table supported? | [R4] A.1.8.5 | ASKECS1: O | N |
| ASKECS3 | Is application layer key agreement supported? | [R4] A.1.8.5 [R3] 8.6.3.2 | ASKECS1: M | N |
| ASKECS4 | Is the SKKE protocol used with ASKE? | [R4] A.1.8.5 [R3] 8.6.3.2 | ASKECS1: X | N |
| ASKECS5 | Is RevocationList parameter of the ASKE SD Table supported? | [R4] A.1.8.4 | ASKECS1: O | N |
| ASKECS6 | Is the ASKEversion attribute supported? | [R4] A.1.8.3 | ASKECS1: M | N |
| ASKECS7 | Is the MaxSDnumber attribute supported? | [R4] A.1.8.3 | ASKECS1: M | N |
| ASKECS8 | Is the SDlist attribute supported? | [R4] A.1.8.3 | ASKECS1: M | N |
| ASKECS9 | Is the MaxKeyingMaterialSize attribute supported? | [R4] A.1.8.3 | ASKECS1: M | N |
| ASKECS10 | Is the MaxRevocationListLength attribute supported? | [R4] A.1.8.3 | ASKECS5: M | N |
| ASKECS11 | Is the ASKEtimeout attribute supported? | [R4] A.1.8.3 | ASKECS1: M | N |
| ASKECS12 | Is the KeySegmentSizeSupport attribute supported? | [R4] A.1.8.3 | ASKECS1: M | N |
| ASKECS13 | Is finite field with q’=28 supported? | [R4] A.1.8.3.7 | ASKECS1: O | N |
| ASKECS14 | Is finite field with q’=216 supported? | [R4] A.1.8.3.7 | ASKECS1: M | N |
| ASKECS15 | Is finite field with q’=232 supported? | [R4] A.1.8.3.7 | ASKECS1: O | N |
| ASKECS16 | Is finite field with q’=264 supported? | [R4] A.1.8.3.7 | ASKECS1: O | N |
| ASKECS17 | Is finite field with q’=2128 supported? | [R4] A.1.8.3.7 | ASKECS1: O | N |
| ASKECS18 | Is finite field with q’=216+1 supported? | [R4] A.1.8.3.7 | ASKECS1: O | N |
| ASKECS19 | Is finite field with q’=264+13 supported? | [R4] A.1.8.3.7 | ASKECS1: O | N |
| ASKECS20 | Is reception of the Configure SD command supported? | [R4] A.1.8.5 | ASKECS2: M | N |
| ASKECS21 | Is reception of the Update Revocation List command supported? | [R4] A.1.8.5 | ASKECS5: M | N |
| ASKECS22 | Is reception of the Remove SD command supported? | [R4] A.1.8.5 | ASKECS2: M | N |
| ASKECS23 | Is reception of the Read SD command supported? | [R4] A.1.8.5 | ASKECS2: M | N |
| ASKECS24 | Is reception of the Initiate ASKE command supported? | [R4] A.1.8.5 | ASKECS3: M | N |
| ASKECS25 | Is reception of the Confirm ASKE Key command supported? | [R4] A.1.8.5 | ASKECS3: M | N |
| ASKECS26 | Is reception of the Terminate ASKE command supported? | [R4] A.1.8.5 | ASKECS3: M | M |
| ASKECS27 | Is reception of the Generate AMK command supported? | [R4] A.1.8.5 | ASKECS4: M | N |
| ASKECS28 | Is generation of the Configure SD Response command supported? | [R4] A.1.8.6 | ASKECS2: M | N |
| ASKECS29 | Is generation of the Update Revocation List Response command supported? | [R4] A.1.8.6 | ASKECS5: M | N |
| ASKECS30 | Is generation of the Remove SD Response command supported? | [R4] A.1.8.6 | ASKECS2: M | N |
| ASKECS31 | Is generation of the Read SD Response command supported? | [R4] A.1.8.6 | ASKECS2: M | N |
| ASKECS32 | Is generation of the Initiate ASKE Response command supported? | [R4] A.1.8.6 | ASKECS3: M | N |
| ASKECS33 | Is generation of the Confirm ASKE Key Response command supported? | [R4] A.1.8.6 | ASKECS3: M | N |
| ASKECS34 | Is generation of the Terminate ASKE command supported? | [R4] A.1.8.6 | ASKECS3: M | N |
| ASKECS35 | Is generation of the Generate AMK Response command supported? | [R4] A.1.8.6 | ASKECS4: M | N |
| ASKECS36 | Is generation of the Report Revoked Node command supported? | [R4] A.1.8.6 | ASKECS5: M | N |
| ASKECS37 | Is generation of the Request Configuration command supported? | [R4] A.1.8.6 | ASKECS2: M | N |

Table 14 – ASKE cluster client capabilities

| Item number | Item description | Reference | Status | Support |
| --- | --- | --- | --- | --- |
| ASKECC1 | Is the ASKE cluster supported as a client? | [R4] A.1 | O | N |
| ASKECC2 | Is Trust Server functionality supported (i.e. in-band configuration of ASKE security domain table)? | [R4] A.1.9.4.1 | ASKECC1: O | N |
| ASKECC3 | In the Trust Server role, is RevocationList maintenance supported? | [R4] A.1.8.4 | ASKECC2: O | N |
| ASKECC4 | Is ASKE application layer key agreement supported? | [R4] A.1.9.4.2 [R3] 8.6.3.2 | ASKECC1: M ASKECS3: M | N |
| ASKECC5 | Is the SKKE protocol used with ASKE? | [R4] A.1.9.4.2 [R3] 8.6.3.2 | ASKECC1: X ASKECS4: M | N |
| ASKECC6 | Is reception of the Configure SD Response command supported? | [R4] A.1.9.3 [R4] A.1.8.6.1 | ASKECC2: M | N |
| ASKECC7 | Is reception of the Update Revocation List Response command supported? | [R4] A.1.9.3 [R4] A.1.8.6.1 | ASKECC3: M | N |
| ASKECC8 | Is reception of the Remove SD Response command supported? | [R4] A.1.9.3 [R4] A.1.8.6.1 | ASKECC2: M | N |
| ASKECC9 | Is reception of the Read SD Response command supported? | [R4] A.1.9.3 [R4] A.1.8.6.1 | ASKECC2: M | N |
| ASKECC10 | Is reception of the Initiate ASKE Response command supported? | [R4] A.1.9.3 [R4] A.1.8.6.2 | ASKECC4: M | N |
| ASKECC11 | Is reception of the Confirm ASKE Key Response command supported? | [R4] A.1.9.3 [R4] A.1.8.6.2 | ASKECC4: M | N |
| ASKECC12 | Is reception of the Terminate ASKE command supported? | [R4] A.1.9.3 [R4] A.1.8.6.2 | ASKECC4: M | N |
| ASKECC13 | Is reception of the Generate AMK Response command supported? | [R4] A.1.9.3 [R4] A.1.8.6.2 | ASKECC5: M | N |
| ASKECC14 | Is reception of the Report Revoked Node command supported? | [R4] A.1.9.3 [R4] A.1.8.6.3 | ASKECC3: M | N |
| ASKECC15 | Is reception of the Request Configuration command supported? | [R4] A.1.9.3 [R4] A.1.8.6.4 | ASKECC2: M | N |
| ASKECC16 | Is generation of the Configure SD command supported? | [R4] A.1.9.4.1 [R4] A.1.8.5.1 | ASKECC2: M | N |
| ASKECC17 | Is generation of the Update Revocation List command supported? | [R4] A.1.9.4.1 [R4] A.1.8.5.1 | ASKECC3: M | N |
| ASKECC18 | Is generation of the Remove SD command supported? | [R4] A.1.9.4.1 [R4] A.1.8.5.1 | ASKECC2: M | N |
| ASKECC19 | Is generation of the Read SD command supported? | [R4] A.1.9.4.1 [R4] A.1.8.5.1 | ASKECC2: M | N |
| ASKECC20 | Is generation of the Initiate ASKE command supported? | [R4] A.1.9.4.2 [R4] A.1.8.5.2 | ASKECC4: M | N |
| ASKECC21 | Is generation of the Confirm ASKE Key command supported? | [R4] A.1.9.4.2 [R4] A.1.8.5.2 | ASKECC4: M | N |
| ASKECC22 | Is generation of the Terminate ASKE command supported? | [R4] A.1.9.4.2 [R4] A.1.8.5.2 | ASKECC4: M | N |
| ASKECC23 | Is generation of the Generate AMK command supported? | [R4] A.1.9.4.2 [R4] A.1.8.5.2 | ASKECC5: M | N |

### ASAC Cluster

Table 15 – ASAC cluster server capabilities

| Item number | Item description | Reference | Status | Support |
| --- | --- | --- | --- | --- |
| ASACCS1 | Is the ASAC cluster supported as a server? | [R3] 7.1.3 | O | N |
| ASACCS2 | Is in-band configuration of the ASAC Security Domain table supported? | [R4] A.2.7.6 | ASACCS1: O | N |
| ASACCS3 | Is ASAC application layer key agreement supported? | [R4] A.2.7.6 | ASACCS1: M | N |
| ASACCS4 | Is the SKKE protocol used with ASAC? | [R4] A.2.7.6 | ASACCS1: X | N |
| ASACCS5 | Is RevocationList parameter of the ASAC SD Table supported? | [R4] A.2.7.4 | ASACCS1: O | N |
| ASACCS6 | Are sub-SDs supported? | [R4] A.2.7.4 | ASACCS1: O | N |
| ASACCS7 | Is the ASACversion attribute supported? | [R4] A.2.7.3 | ASACCS1: M | N |
| ASACCS8 | Is the MaxSDnumber attribute supported? | [R4] A.2.7.3 | ASACCS1: M | N |
| ASACCS9 | Is the MaxKeyingMaterialSize attribute supported? | [R4] A.2.7.3 | ASACCS1: M | N |
| ASACCS10 | Is the MaxPermissionsTableEntries attribute supported? | [R4] A.2.7.3 | ASACCS1: M | N |
| ASACCS11 | Is the MaxCertificateTableEntrie attribute supported? | [R4] A.2.7.3 | ASACCS1: M | N |
| ASACCS12 | Is the MaxRevocationListLength attribute supported? | [R4] A.2.7.3 | ASACCS5: M | N |
| ASACCS13 | Is the ASACtimeout attribute supported? | [R4] A.2.7.3 | ASACCS1: M | N |
| ASACCS14 | Is the MainSDlist attribute supported? | [R4] A.2.7.3 | ASACCS1: M | N |
| ASACCS15 | Is the KeySegmentSizeSupport attribute supported? | [R4] A.2.7.3 | ASACCS1: M | N |
| ASACCS16 | Is finite field with q’=28 supported? | [R4] A.2.7.3.9 | ASACCS1: O | N |
| ASACCS17 | Is finite field with q’=216 supported? | [R4] A.2.7.3.9 | ASACCS1: O | N |
| ASACCS18 | Is finite field with q’=232 supported? | [R4] A.2.7.3.9 | ASACCS1: M | N |
| ASACCS19 | Is finite field with q’=264 supported? | [R4] A.2.7.3.9 | ASACCS1: O | N |
| ASACCS20 | Is finite field with q’=2128 supported? | [R4] A.2.7.3.9 | ASACCS1: O | N |
| ASACCS21 | Is finite field with q’=216+1 supported? | [R4] A.2.7.3.9 | ASACCS1: O | N |
| ASACCS22 | Is finite field with q’=264+13 supported? | [R4] A.2.7.3.9 | ASACCS1: O | N |
| ASACCS23 | Is reception of the Configure SD command supported? | [R4] A.2.7.6.1 | ASACCS2: M | N |
| ASACCS24 | Is reception of the Update Revocation List command supported? | [R4] A.2.7.6.1 | ASACCS5: M | N |
| ASACCS25 | Is reception of the Configure AC Policies command supported? | [R4] A.2.7.6.1 | ASACCS2: M | N |
| ASACCS26 | Is reception of the Read SD command supported? | [R4] A.2.7.6.1 | ASACCS2: M | N |
| ASACCS27 | Is reception of the Read AC Policies command supported? | [R4] A.2.7.6.1 | ASACCS2: M | N |
| ASACCS28 | Is reception of the Remove AC command supported? | [R4] A.2.7.6.1 | ASACCS2: M | N |
| ASACCS29 | Is reception of the AC Properties Request command supported? | [R4] A.2.7.6.1 | ASACCS2: M | N |
| ASACCS30 | Is reception of the TS Report Response command supported? | [R4] A.2.7.6.1 | ASACCS2: M | N |
| ASACCS31 | Is reception of the Initiate ASAC command supported? | [R4] A.2.7.6.2 | ASACCS3: M | N |
| ASACCS32 | Is reception of the Confirm ASAC command supported? | [R4] A.2.7.6.2 | ASACCS3: M | N |
| ASACCS33 | Is reception of the Terminate ASAC command supported? | [R4] A.2.7.6.2 | ASACCS1: M | N |
| ASACCS34 | Is reception of the Generate AMK command supported? | [R4] A.2.7.6.2 | ASACCS4: M | N |
| ASACCS35 | Is reception of the LDC Transport command supported? | [R4] A.2.7.6.2 | ASACCS1: M | N |
| ASACCS36 | Is generation of the Configure SD Response command supported? | [R4] A.2.7.7.1 | ASACCS2: M | N |
| ASACCS37 | Is generation of the Update Revocation List Response command supported? | [R4] A.2.7.7.1 | ASACCS5: M | N |
| ASACCS38 | Is generation of the Configure AC Policies Response command supported? | [R4] A.2.7.7.1 | ASACCS2: M | N |
| ASACCS39 | Is generation of the Read SD Response command supported? | [R4] A.2.7.7.1 | ASACCS2: M | N |
| ASACCS40 | Is generation of the Read AC Policies Response command supported? | [R4] A.2.7.7.1 | ASACCS2: M | N |
| ASACCS41 | Is generation of the Remove AC Response command supported? | [R4] A.2.7.7.1 | ASACCS2: M | N |
| ASACCS42 | Is generation of the AC Properties Request Response command supported? | [R4] A.2.7.7.1 | ASACCS2: M | N |
| ASACCS43 | Is generation of the TS Report command supported? | [R4] A.2.7.7.1 | ASACCS2: M | N |
| ASACCS44 | Is generation of the Initiate ASAC Response command supported? | [R4] A.2.7.7.2 | ASACCS3: M | N |
| ASACCS45 | Is generation of the Confirm ASAC Response command supported? | [R4] A.2.7.7.2 | ASACCS3: M | N |
| ASACCS46 | Is generation of the Terminate ASAC command supported? | [R4] A.2.7.7.2 | ASACCS1: M | N |
| ASACCS47 | Is generation of the Generate AMK Response command supported? | [R4] A.2.7.7.2 | ASACCS4: M | N |
| ASACCS48 | Is generation of the LDC Transport Response command supported? | [R4] A.2.7.7.2 | ASACCS1: M | N |
| ASACCS49 | Is generation of the Request Configuration command supported? | [R4] A.2.7.7.3 | ASACCS1: M | N |

Table 16 – ASAC cluster client capabilities

| Item number | Item description | Reference | Status | Support |
| --- | --- | --- | --- | --- |
| ASACCC1 | Is the ASAC cluster supported as a client? | [R4] A.2 [R3] 7.1.3 | O | N |
| ASACCC2 | Is Trust Server functionality supported (i.e. in-band configuration of ASAC security domain table)? | [R4] A.2.8.4.1 | ASACCC1: O | N |
| ASACCC3 | In the Trust Server role, Revocation List maintenance supported? | [R4] A.2.8.4.1 | ASACCC2: O | N |
| ASACCC4 | In the Trust Server role, are sub-SDs supported? | [R4] A.2.8.4.1 | ASACCC2: O | N |
| ASACCC5 | Is ASAC application layer key agreement supported? | [R4] A.2.8.4.2 [R3] 8.6.4.3 | ASACCC1: M ASACCS3: M | N |
| ASACCC6 | Is the SKKE protocol used with ASAC? | [R4] A.2.8.4.2 [R3] 8.6.4.3 | ASACCC1: X ASACCS4: M | N |
| ASACCC7 | Is generation of the Configure SD command supported? | [R4] A.2.8.4.1 [R4] A.2.7.6.1 | ASACCC2: M | N |
| ASACCC8 | Is generation of the Update Revocation List command supported? | [R4] A.2.8.4.1 [R4] A.2.7.6.1 | ASACCC3: M | N |
| ASACCC9 | Is generation of the Configure AC Policies command supported? | [R4] A.2.8.4.1 [R4] A.2.7.6.1 | ASACCC2: M | N |
| ASACCC10 | Is generation of the Read SD command supported? | [R4] A.2.8.4.1 [R4] A.2.7.6.1 | ASACCC2: M | N |
| ASACCC11 | Is generation of the Read AC Policies command supported? | [R4] A.2.8.4.1 [R4] A.2.7.6.1 | ASACCC2: M | N |
| ASACCC12 | Is generation of the Remove AC command supported? | [R4] A.2.8.4.1 [R4] A.2.7.6.1 | ASACCC2: M | N |
| ASACCC13 | Is generation of the AC Properties Request command supported? | [R4] A.2.8.4.1 [R4] A.2.7.6.1 | ASACCC2: M | N |
| ASACCC14 | Is generation of the TS Report Response command supported? | [R4] A.2.8.4.1 [R4] A.2.7.6.1 | ASACCC2: M | N |
| ASACCC15 | Is generation of the Initiate ASAC command supported? | [R4] A.2.8.4.2 [R4] A.2.7.6.2 | ASACCC5: M | N |
| ASACCC16 | Is generation of the Confirm ASAC command supported? | [R4] A.2.8.4.2 [R4] A.2.7.6.2 | ASACCC5: M | N |
| ASACCC17 | Is generation of the Terminate ASAC command supported? | [R4] A.2.8.4.2 [R4] A.2.7.6.2 | ASACCC1: M | N |
| ASACCC18 | Is generation of the Generate AMK command supported? | [R4] A.2.8.4.2 [R4] A.2.7.6.2 | ASACCC6: M | N |
| ASACCC19 | Is generation of the LDC Transport command supported? | [R4] A.2.8.4.2 [R4] A.2.7.6.2 | ASACCC1: M | N |
| ASACCC20 | Is reception of the Configure SD Response command supported? | [R4] A.2.8.3 [R4] A.2.7.7.1 | ASACCC2: M | N |
| ASACCC21 | Is reception of the Update Revocation List Response command supported? | [R4] A.2.8.3 [R4] A.2.7.7.1 | ASACCC3: M ASACCC8: M | N |
| ASACCC22 | Is reception of the Configure AC Policies Response command supported? | [R4] A.2.8.3 [R4] A.2.7.7.1 | ASACCC2: M | N |
| ASACCC23 | Is reception of the Read SD Response command supported? | [R4] A.2.8.3 [R4] A.2.7.7.1 | ASACCC2: M | N |
| ASACCC24 | Is reception of the Read AC Policies Response command supported? | [R4] A.2.8.3 [R4] A.2.7.7.1 | ASACCC2: M | N |
| ASACCC25 | Is reception of the Remove AC Response command supported? | [R4] A.2.8.3 [R4] A.2.7.7.1 | ASACCC2: M | N |
| ASACCC26 | Is reception of the AC Properties Request Response command supported? | [R4] A.2.8.3 [R4] A.2.7.7.1 | ASACCC2: M | N |
| ASACCC27 | Is reception of the TS Report command supported? | [R4] A.2.8.3 [R4] A.2.7.7.1 | ASACCC2: M | N |
| ASACCC28 | Is reception of the Initiate ASAC Response command supported? | [R4] A.2.8.3 [R4] A.2.7.7.2 | ASACCC5: M | N |
| ASACCC29 | Is reception of the Confirm ASAC Response command supported? | [R4] A.2.8.3 [R4] A.2.7.7.2 | ASACCC5: M | N |
| ASACCC30 | Is reception of the Terminate ASAC command supported? | [R4] A.2.8.3 [R4] A.2.7.7.2 | ASACCC1: M | N |
| ASACCC31 | Is reception of the Generate AMK Response command supported? | [R4] A.2.8.3 [R4] A.2.7.7.2 | ASACCC6: M | N |
| ASACCC32 | Is reception of the LDC Transport Response command supported? | [R4] A.2.8.3 [R4] A.2.7.7.2 | ASACCC1: M | N |
| ASACCC33 | Is reception of the Request Configuration command supported? | [R4] A.2.8.3 [R4] A.2.7.7.3 | ASACCC2: M | N |

## Other Clusters [Candidate material for ZCL PICS]

The following is candidate material for inclusion in a future version of [R9].

### Commissioning Cluster

Table 17 – Commissioning cluster server capabilities

| Item number | Item description | Reference | Status | Support |
| --- | --- | --- | --- | --- |
| COMCS1 | Is the commissioning cluster supported as a server? | [R3] A.1.2 | O | N |
| COMCS2 | Is the ShortAddress attribute supported? | [R5] 3.15.2.2.1 | COMCS1: M | N |
| COMCS3 | Is the ExtendPANId attribute supported? | [R5] 3.15.2.2.1 | COMCS1: M | N |
| COMCS4 | Is the PANId attribute supported? | [R5] 3.15.2.2.1 | COMCS1: M | N |
| COMCS5 | Is the Channelmask attribute supported? | [R5] 3.15.2.2.1 | COMCS1: M | N |
| COMCS6 | Is the ProtocolVersion attribute supported? | [R5] 3.15.2.2.1 | COMCS1: M | N |
| COMCS7 | Is the StackProfile attribute supported? | [R5] 3.15.2.2.1 | COMCS1: M | N |
| COMCS8 | Is the StartupControl attribute supported? | [R5] 3.15.2.2.1 | COMCS1: M | N |
| COMCS9 | Is the TrustCentreAddress attribute supported? | [R5] 3.15.2.2.1 | COMCS1: M | N |
| COMCS10 | Is the TrustCentreMasterKey attribute supported? | [R5] 3.15.2.2.1 | COMCS1: M | N |
| COMCS11 | Is the NetworkKey attribute supported? | [R5] 3.15.2.2.1 | COMCS1: M | N |
| COMCS12 | Is the UseInsecureJoin attribute supported? | [R5] 3.15.2.2.1 | COMCS1: M | N |
| COMCS13 | Is the PreconfiguredLinkKey attribute supported? | [R5] 3.15.2.2.1 | COMCS1: M | N |
| COMCS14 | Is the NetworkKeySeqNum attribute supported? | [R5] 3.15.2.2.1 | COMCS1: M | N |
| COMCS15 | Is the NetworkKeyType attribute supported? | [R5] 3.15.2.2.1 | COMCS1: M | N |
| COMCS16 | Is the NetworkManagerAddress attribute supported? | [R5] 3.15.2.2.1 | COMCS1: M | N |
| COMCS17 | Is the ScanAttempts attribute supported? | [R5] 3.15.2.2.2 | COMCS1: M | N |
| COMCS18 | Is the TimeBetweenScanes attribute supported? | [R5] 3.15.2.2.2 | COMCS1: M | N |
| COMCS19 | Is the RejoinInterval attribute supported? | [R5] 3.15.2.2.2 | COMCS1: M | N |
| COMCS20 | Is the MaxRejoinInterval attribute supported? | [R5] 3.15.2.2.2 | COMCS1: M | N |
| COMCS21 | Is the IndirectPollRate attribute supported? | [R5] 3.15.2.2.3 | COMCS1: M | N |
| COMCS22 | Is the ParentRetryThreshold attribute supported? | [R5] 3.15.2.2.3 | COMCS1: M | N |
| COMCS23 | Is the ConcentratorFlag attribute supported? | [R5] 3.15.2.2.4 | COMCS1: M | N |
| COMCS24 | Is the ConcentratorRadius attribute supported? | [R5] 3.15.2.2.4 | COMCS1: M | N |
| COMCS25 | Is the ConcentratorDiscoveryTime attribute supported? | [R5] 3.15.2.2.4 | COMCS1: M | N |
| COMCS26 | Is reception of the Restart Device command supported? | [R5] 3.15.2.3 | COMCS1: M | N |
| COMCS27 | Is reception of the Save Startup Parameters command supported? | [R5] 3.15.2.3 | COMCS1: O | N |
| COMCS28 | Is reception of the Recall Startup Parameters command supported? | [R5] 3.15.2.3 | COMCS1: O | N |
| COMCS29 | Is reception of the Reset Startup Parameters command supported? | [R5] 3.15.2.3 | COMCS1: M | N |
| COMCS30 | Is generation of the Restart Device Response command supported? | [R5] 3.15.2.4 | COMCS1: M | N |
| COMCS31 | Is generation of the Save Startup Parameters Response command supported? | [R5] 3.15.2.4 | COMCS1: M | N |
| COMCS32 | Is generation of the Recall Startup Parameters Response command supported? | [R5] 3.15.2.4 | COMCS1: M | N |
| COMCS33 | Is generation of the Reset Startup Parameters Response command supported? | [R5] 3.15.2.4 | COMCS1: M | N |

Table 18 – Commissioning Cluster client capabilities

| Item number | Item description | Reference | Status | Support |
| --- | --- | --- | --- | --- |
| COMCC1 | Is the commissioning cluster supported as a client? | [R3] A.1.3 | O | N |
| COMCC2 | Is reception of the Restart Device command supported? | [R5] 3.15.2.3 | COMCC1: O | N |
| COMCC3 | Is reception of the Save Startup Parameters command supported? | [R5] 3.15.2.3 | COMCC1: O | N |
| COMCC4 | Is reception of the Recall Startup Parameters command supported? | [R5] 3.15.2.3 | COMCC1: O | N |
| COMCC5 | Is reception of the Reset Startup Parameters command supported? | [R5] 3.15.2.3 | COMCC1: O | N |
| COMCC6 | Is generation of the Restart Device Response command supported? | [R5] 3.15.2.4 | COMCC1: O | N |
| COMCC7 | Is generation of the Save Startup Response Parameters command supported? | [R5] 3.15.2.4 | COMCC1: O | N |
| COMCC8 | Is generation of the Recall Startup Response Parameters command supported? | [R5] 3.15.2.4 | COMCC1: O | N |
| COMCC9 | Is generation of the Reset Startup Response Parameters command supported? | [R5] 3.15.2.4 | COMCC1: O | N |

# Footnotes

O.1 – Device under test must select only one of these options.   Devices under test supporting multiple ZigBee device types must serially re-test using each supported ZigBee device type.